## CABLE SCHEDULE
PROJECT : PROPOSED WOODS VILLAS PROJECT
TITLE : CABLE SCHEDULE
DATE:01-06-2026
S.NO | FROM | TO | No.Of Villas | CL LOAD in KW for Villa | CL LOAD in KW | CABLE SIZE | DISTANCE In Mtrs | No.Of Runs | Length In Mtrs | Cable Loop | Total Length In Mtrs
INCOMING 11kV HT CABLE
1 | 11KV SINGLE POLE | 11KV TR YARD |  |  |  | 3Cx185 Sq mm XLPE,AL,ARM.CABLE | 197 | 2 | 394 | 6 | 400
1 | 100kVA TRANSFORMER-1 | MAIN PCC PANEL-1 |  |  |  | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 30 | 1 | 30 | 4 | 34
2 | MAIN PCC PANEL | FEEDER PILLAR-1 (1-12,12A) | 13 | 3 | 39 | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 50 | 1 | 50 | 4 | 54 | 1516
3 | MAIN PCC PANEL | FEEDER PILLAR-2 (19-30) | 12 | 3 | 36 | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 98 | 1 | 98 | 4 | 102
4 | MAIN PCC PANEL | COMMON SERVICES PANEL |  |  | 45 | 3.5Cx95 Sq mm XLPE,AL,ARM.CABLE | 20 | 1 | 20 | 4 | 24 | 48
|  | TOTAL LOAD | 25 |  | 120
1 | 100kVA TRANSFORMER-2 | MAIN PCC PANEL-2 |  |  |  | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 30 | 1 | 30 | 4 | 34
1 | MAIN PCC PANEL | FEEDER PILLAR-3 (14-18+31-37) | 12 | 3 | 36 | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 275 | 2 | 550 | 4 | 554
2 | MAIN PCC PANEL | FEEDER PILLAR-4 (38-53) | 16 | 3 | 48 | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 350 | 2 | 700 | 4 | 704
3 | MAIN PCC PANEL | CLUB HOUSE PANEL |  |  | 45 | 3.5Cx95 Sq mm XLPE,AL,ARM.CABLE | 20 | 1 | 20 | 4 | 24
|  | TOTAL LOAD | 28 |  | 129
1
1 | 100KVA DG SET | DG PANEL |  |  |  | 3.5Cx185 Sq mm XLPE,AL,ARM.CABLE | 30 | 1 | 30 | 4 | 34
| C.S PANEL | STREET LIGHTING KIOSK |  |  |  | 4Cx25 Sq mm XLPE,AL,ARM.CABLE | 55 | 1 | 55 | 3 | 58
1 | STREET LIGHTING KIOSK | LOOP-1 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 200 | 1 | 200 | 16 | 216
2 | STREET LIGHTING KIOSK | LOOP-2 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 230 | 1 | 230 | 16 | 246
3 | STREET LIGHTING KIOSK | LOOP-3 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 106 | 1 | 106 | 8 | 114
4 | STREET LIGHTING KIOSK | LOOP-4 |  |  |  | 4Cx6.0 Sq mm YWY,Cu,ARM.CABLE | 50 | 1 | 50 | 4 | 54
5 |  | LOOP-5 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 80 | 1 | 80 | 8 | 88
6 |  | LOOP-6 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 130 | 1 | 130 | 16 | 146
7 | STREET LIGHTING KIOSK | LOOP-7 |  |  |  | 4Cx6.0 Sq mm YWY,Cu,ARM.CABLE | 230 | 1 | 230 | 18 | 248
8 |  | LOOP-8 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 170 | 1 | 170 | 14 | 184
9
| STREET LIGHTING KIOSK | LOOP-9 |  |  |  | 4Cx6.0 Sq mm YWY,Cu,ARM.CABLE | 255 | 1 | 255 | 14 | 269
|  | LOOP-10 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 109 | 1 | 109 | 10 | 119
|  | LOOP-11 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 145 | 1 | 145 | 12 | 157
| STREET LIGHTING KIOSK | LOOP-12 |  |  |  | 4Cx6.0 Sq mm YWY,Cu,ARM.CABLE | 336 | 1 | 336 | 26 | 362
|  | LOOP-13 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 140 | 1 | 140 | 12 | 152
|  | LOOP-14 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 165 | 1 | 165 | 14 | 179
|  | LOOP-15 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 160 | 1 | 160 | 14 | 174
| STREET LIGHTING KIOSK | LOOP-16 |  |  |  | 4Cx6.0 Sq mm YWY,Cu,ARM.CABLE | 338 | 1 | 338 | 24 | 362
|  | LOOP-17 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 112 | 1 | 112 | 10 | 122
|  | LOOP-18 |  |  |  | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE | 106 | 1 | 106 | 8 | 114
[6 empty] | 4Cx6.0 Sq mm YWY,Cu,ARM.CABLE |  |  |  |  | 1295
[6 empty] | 4Cx4.0 Sq mm YWY,Cu,ARM.CABLE |  |  |  |  | 2011
1 | FEEDER PILLAR-1 | VILLA-1 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 190 | 1 | 190 | 3 | 193
2 | FEEDER PILLAR-1 | VILLA-2 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 160 | 1 | 160 | 3 | 163
3 | FEEDER PILLAR-1 | VILLA-3 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 130 | 1 | 130 | 3 | 133
4 | FEEDER PILLAR-1 | VILLA-4 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 95 | 1 | 95 | 3 | 98
5 | FEEDER PILLAR-1 | VILLA-5 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 65 | 1 | 65 | 3 | 68
6 | FEEDER PILLAR-1 | VILLA-6 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 112 | 1 | 112 | 3 | 115
7 | FEEDER PILLAR-1 | VILLA-7 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 80 | 1 | 80 | 3 | 83
8 | FEEDER PILLAR-1 | VILLA-8 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 50 | 1 | 50 | 3 | 53
9 | FEEDER PILLAR-1 | VILLA-9 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 45 | 1 | 45 | 3 | 48
10 | FEEDER PILLAR-1 | VILLA-10 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 75 | 1 | 75 | 3 | 78
11 | FEEDER PILLAR-1 | VILLA-11 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 120 | 1 | 120 | 3 | 123
12 | FEEDER PILLAR-1 | VILLA-12 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 155 | 1 | 155 | 3 | 158
13 | FEEDER PILLAR-1 | VILLA-12A |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 185 | 1 | 185 | 3 | 188
1 | FEEDER PILLAR-2 | VILLA-19 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 165 | 1 | 165 | 3 | 168
2 | FEEDER PILLAR-2 | VILLA-20 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 135 | 1 | 135 | 3 | 138
3 | FEEDER PILLAR-2 | VILLA-21 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 90 | 1 | 90 | 3 | 93
4 | FEEDER PILLAR-2 | VILLA-22 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 55 | 1 | 55 | 3 | 58
5 | FEEDER PILLAR-2 | VILLA-23 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 80 | 1 | 80 | 3 | 83
6 | FEEDER PILLAR-2 | VILLA-24 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 108 | 1 | 108 | 3 | 111
7 | FEEDER PILLAR-2 | VILLA-25 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 140 | 1 | 140 | 3 | 143
8 | FEEDER PILLAR-2 | VILLA-26 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 140 | 1 | 140 | 3 | 143
9 | FEEDER PILLAR-2 | VILLA-27 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 110 | 1 | 110 | 3 | 113
10 | FEEDER PILLAR-2 | VILLA-28 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 80 | 1 | 80 | 3 | 83
11 | FEEDER PILLAR-2 | VILLA-29 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 55 | 1 | 55 | 3 | 58
12 | FEEDER PILLAR-2 | VILLA-30 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 100 | 1 | 100 | 3 | 103
1 | FEEDER PILLAR-3 | VILLA-14 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 145 | 1 | 145 | 3 | 148
2 | FEEDER PILLAR-3 | VILLA-15 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 115 | 1 | 115 | 3 | 118
3 | FEEDER PILLAR-3 | VILLA-16 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 85 | 1 | 85 | 3 | 88
4 | FEEDER PILLAR-3 | VILLA-17 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 50 | 1 | 50 | 3 | 53
5 | FEEDER PILLAR-3 | VILLA-18 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 70 | 1 | 70 | 3 | 73
6 | FEEDER PILLAR-3 | VILLA-31 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 135 | 1 | 135 | 3 | 138
7 | FEEDER PILLAR-3 | VILLA-32 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 100 | 1 | 100 | 3 | 103
8 | FEEDER PILLAR-3 | VILLA-33 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 75 | 1 | 75 | 3 | 78
9 | FEEDER PILLAR-3 | VILLA-34 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 55 | 1 | 55 | 3 | 58
10 | FEEDER PILLAR-3 | VILLA-35 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 85 | 1 | 85 | 3 | 88
11 | FEEDER PILLAR-3 | VILLA-36 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 115 | 1 | 115 | 3 | 118
12 | FEEDER PILLAR-3 | VILLA-37 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 145 | 1 | 145 | 3 | 148
1 | FEEDER PILLAR-4 | VILLA-38 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 170 | 1 | 170 | 3 | 173
2 | FEEDER PILLAR-4 | VILLA-39 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 140 | 1 | 140 | 3 | 143
3 | FEEDER PILLAR-4 | VILLA-40 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 110 | 1 | 110 | 3 | 113
4 | FEEDER PILLAR-4 | VILLA-41 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 80 | 1 | 80 | 3 | 83
5 | FEEDER PILLAR-4 | VILLA-42 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 55 | 1 | 55 | 3 | 58
6 | FEEDER PILLAR-4 | VILLA-43 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 75 | 1 | 75 | 3 | 78
7 | FEEDER PILLAR-4 | VILLA-44 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 100 | 1 | 100 | 3 | 103
8 | FEEDER PILLAR-4 | VILLA-45 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 135 | 1 | 135 | 3 | 138
9 | FEEDER PILLAR-4 | VILLA-46 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 130 | 1 | 130 | 3 | 133
10 | FEEDER PILLAR-4 | VILLA-47 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 100 | 1 | 100 | 3 | 103
11 | FEEDER PILLAR-4 | VILLA-48 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 70 | 1 | 70 | 3 | 73
12 | FEEDER PILLAR-4 | VILLA-49 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 50 | 1 | 50 | 3 | 53
13 | FEEDER PILLAR-4 | VILLA-50 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 80 | 1 | 80 | 3 | 83
14 | FEEDER PILLAR-4 | VILLA-51 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 110 | 1 | 110 | 3 | 113
15 | FEEDER PILLAR-4 | VILLA-52 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 140 | 1 | 140 | 3 | 143
16 | FEEDER PILLAR-4 | VILLA-53 |  |  |  | 4Cx16 Sq mm XLPE,AL,ARM.CABLE | 170 | 1 | 170 | 3 | 173
5769